# Making up solutions

Equipment needed

| Access to 2dp balance | Measuring cylinder |
| --- | --- |
| weighboats | spatula |
| 100 cm3 volumetric flasks | 2 x100 cm3 beakers |
| 5g Iron III chloride-6-water | 2 mol l-1 HCl |
| Soluble starch (a few g) | Pasteur pipettes |

To do

A – preparing an iron III chloride solution

- You are going to prepare 100cm3 of a 0.l mol l-1 solution of Iron III chloride.

Iron III chloride has a Formula Mass of 270.1g

- So to produce 100 cm3 of a 0.1M solution, you will need to weigh out 2.70g, dissolve it in water and make up to 100 cm3.

Rinse the beaker out before using it again

B – diluting a solution of hydrochloric acid

- You are going to prepare 100 cm3 of a 0.lM solution of hydrochloric acid.

- To go from 2 to 0.1 is a dilution of 20 (2 ÷ 0.1). So you need to dilute the solution 20x.

- 1/20 of 100 cm3 is 5 cm3 so you will need to measure out 5 cm3 of the 2M acid and make up to the required volume.

Rinse the beaker out before using it again

C – preparing a starch solution

- You are going to prepare 100 cm3 of a 1% w/v starch solution.

- Starch, like many biological molecules does not really have a formula mass and so solutions are usually given as percentages. 1% is 1 in 100. The w/v term means that you measure the starch in grammes and the liquid in cm3. So a 1% w/v solution is 1g in 100 cm3.

- Weigh out 1 g of soluble starch.

- Mix the starch with a small amount of distilled water and stir it vigorously to form a paste.

- Boil 100 cm3 of distilled water and add it to the paste, stirring to help it dissolve and allow to cool.